ARKANSAS DEPARTMENT OF EDUCATION RULES GOVERNING SCHOOL-BASED AUTOMATED EXTERNAL DEFIBRILLATOR (AED) DEVICES AND CARDIOPULMONARY RESUSCITATION (CPR) PROGRAMS IN ARKANSAS PUBLIC SCHOOLS

1.0	PURPOSE

1.01	The purpose of these rules is to establish the requirements and procedures for

governing school-based Automated External Defibrillator (AED) devices and Cardiopulmonary Resuscitation (CPR) programs in Arkansas Public Schools.

2.0	REGULATORY AUTHORITY

2.01 	Pursuant to the Authority of the State Board of Education under § Ark. Code Ann 6-10-122 et. seq., these shall be known as the Arkansas Department of Education Rules Governing School-Based Automated External Defibrillator (AED) devices and Cardiopulmonary Resuscitation (CPR) programs.

3.0	DEFINITIONS

For the purpose of these rules, the following terms mean:

3.01	Arkansas Public Schools: includes all public and charter schools

3.02	AED: Automated External Defibrillator means a device that:

3.02.1	Is used to administer an electric shock through the chest wall to the 			heart;

3.02.2	Has built-in computers within the device to assess the patient’s 				heart rhythm, judge whether defibrillation is needed, and then 				administer the 	shock;

3.02.3	Has audible or visual prompts, or both, to guide the user through the 			process;

3.02.4	Has received approval from the United States Food and Drug 				Administration of its pre-market modification, filed pursuant to 21 U.S.C. 			360 (k);

3.02.5	Is capable of recognizing the presence or absence of ventricular fibrillation 		and rapid ventricular tachycardia and is capable of determining without 			intervention by an operator whether defibrillation should be performed; 			and

3.02.6	Upon determining the defibrillation should be performed, either 				automatically charges and delivers an electrical impulse to an individual’s 			heart or charges and delivers an electrical impulse at the command of the 			operator.

3.03	CPR/AED Provider: A member or employee of a campus who has completed

training in CPR in addition to knowledge and understanding of an AED’s operation and use under the requirements set forth in this regulation.

3.04	Cardiac arrest: A condition, often sudden, that is due to abnormal heart rhythms 			called arrhythmias.  It is generally the result of some underlying form of heart 			disease.

3.05	Cardiopulmonary Resuscitation: A combination of rescue breathing and chest 			compressions and external cardiac massage used to sustain a person’s life until 			advanced assistance arrives.

3.07	Defibrillation: Administering the electrical impulse to an individual’s heart in

order to stop ventricular fibrillation or rapid ventricular tachycardia.

3.08	Department: Arkansas Department of Education

3.09	Emergency Medical Services (EMS): The transportation and medical care provided the ill or injured prior to arrival at a medical facility by a licensed emergency medical technician or other health care provider and continuation of the initial emergency care within a medical facility subject to the approval of the medical staff and governing board of that facility.

  - Extra-curricular event: Any school sponsored program or voluntary activity

sponsored by the school, local education agency, or an organization sanctioned by the local education agency where students are competing for the purpose of receiving an award, rating, recognition, or criticism, or qualification for additional competition or including preparation for and involvement in public performances, contests, athletic competitions, demonstrations, displays and club activities.

3.11	FDA: Federal Food and Drug Administration

3.12	School-Personnel: School Board approved/contract employee of the district that is required to follow school policy and procedures

3.13	Program Coordinator: An individual, appointed by the school district, who is responsible for administration of the Automated External Defibrillation program for their respective campus.

3.14	Protocol: Currently approved and accepted procedures describing specific steps a provider must follow in assessing and treating a patient.

3.15	Renewal: Period training and demonstration of competence in the application and use of automated defibrillation equipment.

3.17	School campus: Any public school building or cluster of buildings, including grounds, with an ADE-issued LEA number, that is used for any purpose, including, without limitation: an extracurricular activity, organized physical activity course defined in Ark. Code Ann. § 6-16-137, pre-kindergarten education, or district administration.

  - School sponsored event; Any event or activity sponsored by the school or school

system which includes but is not limited to athletic events, booster clubs, parent-teacher organizations, or any activity designed to enhance the school curriculum whether on school-campus or not.

3.19	Sudden Cardiac Arrest (SCA): SCA is a sudden or unexpected cessation of heart function, most often caused by a sudden arrhythmia, such as ventricular fibrillation (VF).  When this occurs, the heart’s electrical impulses suddenly become chaotic and ineffective.  Blood flow to the brain abruptly stops and the victim collapses and quickly loses consciousness.  Death usually follows unless a normal heart rhythm is restored within minutes.

3.20	Ventricular Fibrillation (VF): The most common arrhythmia that causes cardiac arrest.  It is a condition in which the heart’s electrical impulses suddenly become chaotic, often without warning, causing the heart’s pumping action to stop abruptly.

4.0	REQUIREMENTS

4.01 	Each school campus must have an Automated External Defibrillator on or before 	May 31, 2011.

4.02	Appropriate school personnel must be adequately trained on or before May 31, 2011 as outlined in 9.0 Quality Training.

4.03	After May 31, 2011, appropriate school personnel must be adequately trained on an ongoing basis as outlined in 9.0 Quality Training.

5.0	AUTOMATED EXTERNAL DEFIBRILLATOR MODEL

5.01	Defibrillators acceptable for use in the State of Arkansas:

5.01.1	Federal Drug Administration (FDA) approved;

5.01.2	Automated type requiring provider intervention to initiate

a defibrillation shock; and

5.01.3	Capable of automatically collecting data.

5.02	No modifications will be made to defibrillation equipment, by the provider or the service, which results in:

5.02.1	Deviation from the original manufacturer’s specifications, or

5.02.2	Deviation from AED protocols.

6.0	DEFIBRILLATOR PREVENTATIVE MAINTENANCE/REPAIR

6.01	Each school district shall designate appropriate personnel to be responsible for the maintenance of the AED(s).

6.02	All components of the AED and integrated data recording system shall be inspected by a qualified service technician at least one (1) time per calendar year or as recommended by the manufacturer to ensure:

6.02.1	The equipment meets original manufacturer’s specifications;

6.02.2	The equipment maintains the currently approved treatment protocols based on the current American Heart Association scientific guidelines, standards, and recommendations for the use of the AED .

6.03.2	The battery of the AED shall be maintained and replaced in accordance with manufacturer’s specifications.

6.03.3	All maintenance and repairs shall be performed by a qualified service 		technician recognized by the manufacturer.

6.03.4	Written records shall be maintained for all maintenance, repairs, and inspections performed on all components for mandated annual state reporting purposes.

7.0 	AVAILABILITY OF AUTOMATED EXTERNAL DEFIBRILLATOR

7.01	Each school shall designate appropriate personnel to be responsible for ensuring the availability of the AED.

7.02	The location of AEDs

shall be based on the following:

7.02.1.	Size and physical layout of the buildings;

7.02.2 	Number and ages of individuals in the building;

7.02.3	Types and locations of curricular, extracurricular, and school-					sponsored events;

7.02.4	Design features that might be unique to the building; and

7.02.5	Each school shall report, in a format approved by the Department, maintenance records and any use of an AED.

7.03	During school hours, the AED will be placed at designated locations.

7.03.1	These locations shall be specific to each school but should allow the 				device to be easily seen by staff.

7.03.2	The locations should allow staff members to retrieve the device outside of 				normal school hours.

8.0 	SCHOOL APPOINTED PROGRAM COORDINATOR

8.01	The school appointed program coordinator shall:

8.01.1	Maintain current provider status in CPR/AED;

8.01.2	Assure that the CPR/AED providers on campus receive appropriate 			training in the use and maintenance of the school’s AED(s);

8.01.3	Oversee training operations for the agency and maintain organizational training reports;

8.01.4	Ensure AED equipment is maintained according to manufacturer

and treatment protocol specifications based on the current American Heart Association scientific guidelines, standards, and recommendations for the use of the AED;

8.01.5  Provide professional development opportunities annually for AED providers and all school employees, if applicable;

8.01.6	Verify credentials of personnel functioning as an AED provider within the school; and

8.01.7	Review each use of the AED.

9.0	QUALITY TRAINING

9.01	Appropriate training of anticipated rescuers in the use of the AED and in CPR will incorporate at least the following:

9.01.1	Testing of psychomotor skills based on the American Heart Association 			scientific guidelines, standards, and recommendations for the use of the 			AED, as they existed on January 1, 2009;

9.01.2	Providing CPR as published by the American Heart Association, 				American Red Cross, or in equivalent course materials as they

existed on January 1, 2009;

9.01.3	Coordination with the emergency medical services system; and

9.01.4	An ongoing quality improvement program to monitor training and

evaluate response with each use of an AED.

10.0	PROFESSIONAL DEVELOPMENT REQUIREMENTS

10.01	Automated external defibrillator and cardiopulmonary resuscitation training shall count fully toward the existing professional development requirements for teachers and school personnel as noted in the Rules for Professional Development .

11.0	REPORTING

11.01	Beginning in the year of 2011, the Commissioner of Education shall provide a report to the Senate Committee on Public Health, Welfare, and Labor and the House committee on Public Health, Welfare, and Labor on or before July 1, each year. Schools shall annually report to ADE:

11.01.1  The implementation and status of the AED availability on each school 		  campus will be reported annually by May to the Department of

Education;

11.02	The AED Incident Report Form shall be completed and submitted to the Director of Special Programs within thirty (30) days following an event. This form shall include:

11.02.1  Relevant information regarding the incidence and use of the AED and the 	  client outcome.